## Introduction
Pool Water Loss Calculator
Business Technical Support has developed this calculator to enable you to understand how much water you are losing over time and the costs associated with it. Simply complete a bucket test by sitting a bucket on a step in the pool and filling it to the same water level as the pool. Leave the bucket to sit there for one day while the pool is not being used. Measure the difference between the pool level and the bucket level and enter this in the water loss per day box. Once your pool measurements and drop in pool levels are entered, the calculator will give you an estimate on how much water is being lost over time and what this is costing you in water. This may be due to leaks in the pool structure and plumbing or evaporation. For more information on leaks in aquatic centres and performing the bucket test please follow the link below.
SA Water's Business Technical Support Contact Details
| Phone | 08 7424 3753
Email
Web
Disclaimer
SA Water’s Business Technical Support provides recommendations and suggestions only. It is advised that further investigations and detailed studies are completed before any projects are implemented. All applicable standards & guidelines (Australian, EU, AQUIS, HACCP, Australian Drinking Water Quality Guidelines etc.) should be adhered to, and care should be taken to ensure water minimisation programs do not negatively impact health or processing operations. Any proposal to use alternative water sources or recycled water may require approval from the Department of Health, the EPA and local council. For more information please contact the Department of Health on 8226 7100, the EPA on 8204 2000 or your local council.
Identifying leaks in aquatic centres
Rectangular Pool
Circular Pool
businesswatersaver@sawater.com.au
http://www.sawater.com.au/SAWater/YourBusiness/SaveWaterInYourBusiness/
BusinessTechnicalSupport@sawater.com.au
http://www.sawater.com.au/SAWater/YourBusiness/SaveWaterInYourBusiness/

## Rectangular Pool Calculator
Rectangular Pool Water Loss Calculator
[5 empty] | Annual water used | 0
Rectangular Pool |  |  |  |  | Leak | 0
Length |  | metres
Width |  | metres
Water loss (per day) |  | millimetres
Yearly water consumption |  | kilolitres | Cost per kL
Loss per day | 0 | Litres | Cost per day | 0
Loss per week | 0 | Litres | Cost per week | 0
Loss per year | 0 | Litres | Cost per year | 0
Water use lost per year
SA Water Pricing Information
Introduction
Circular Pool

## Circular Pool Calculator
Circular Pool Water Loss Calculator
Circular Pool
[5 empty] | Annual water used | 0
Diameter |  | metres |  |  | Leak | 0
Water loss (per day) |  | millimetres
Yearly water consumption |  | kilolitres | Cost per kL
Loss per day | 0 | litres | Cost per day | 0
Loss per week | 0 | litres | Cost per week | 0
Loss per year | 0 | litres | Cost per year | 0
Water use lost per year
Rectangular Pool
Introduction
SA Water Pricing Information